## Slide 1: Plan Review Process
September 9th, 2024

## Slide 2: The Overview
The following is a guide designed to assist facility applicants, in submitting their healthcare facility plans to the Oklahoma State Department of Health (OSDH) for review. It outlines the required steps, documentation, and compliance checks to ensure that new construction or renovation projects meet state health and safety codes.
This guide walks stakeholders through the entire submittal process—from initial preparation and document submission to code compliance reviews, inspections, and final approval for licensing. Optional steps like consultations and courtesy inspections are also included for added support throughout the project lifecycle. By following this guide, stakeholders can streamline their submissions and ensure timely and compliant project approvals."
Legend
OSDH Task
Major Milestone
Applicants Task
Step 1: Pre-Submittal Preparation
Step 2: Submitting Your Documents
Step 3: Plan Review Process
Optional: Courtesy Inspections
Step 5: Final Inspection
Step 6: Post-Inspection & Licensing Review

## Slide 3: Step 1: Pre-Submittal Preparation
This section is critical for laying the foundation for a successful plan review. It guides stakeholders through reviewing relevant regulations and standards, selecting the correct submittal type, and gathering all required documentation. Additionally, it offers the option to request a consultation for clarification on specific regulatory requirements, such as FGI standards, which can be helpful for complex projects. If this stage is not thoroughly completed and well-documented, it will greatly impact the remainder of the process, potentially causing delays, resubmissions, and additional reviews. Proper preparation ensures that all documents are accurate and complete, setting the stage for a smoother plan review and approval process.
Review of Regulations
Choose Submittal Type
Gather Required Documentation
Optional: Consultation

## Slide 4: Step 2: Submitting Your Documents
Once prepared, stakeholders must formally submit their application using the ODH 1428 Plan Review Submittal Form. This section outlines the process of submitting the application and uploading required documents via Box, an online platform for secure file sharing. Stakeholders receive two emails: one with the link for uploading documents and another with specific instructions for naming and formatting files. Ensuring that all documentation is correctly formatted and complete is essential for the efficient review of the project.
Submit Application
Upload Documents via Box
Ensure Complete Documentation

## Slide 5: Step 3: Plan Review Process
During this stage, the OSDH reviews the submitted documents to ensure compliance with health and safety codes. If additional information is required or revisions are necessary, the department will notify the stakeholder. This section emphasizes that plan approval is contingent on meeting all regulatory requirements. If the plans meet the criteria, the stakeholder can proceed; if not, they must address the issues and resubmit the documents for review.
Code Compliance Review
Request for Additional Information (if needed)
Approval or Revisions

## Slide 6: Optional: Courtesy Inspections
Courtesy inspections are optional, but highly recommended for stakeholders seeking additional assurance that their construction is progressing in compliance with approved plans. By requesting these inspections at various construction stages, stakeholders can address any issues early on, avoiding potential problems during the final inspection. The section outlines the process of submitting inspection requests and acting on the findings from the inspection report to ensure ongoing compliance.
Submit Request for Inspection
Construction Compliance Inspection
Distribute Report

## Slide 7: Step 4: Final Inspection
As the project nears completion, stakeholders must request a final inspection to verify that the construction adheres to the approved plans and all applicable codes. The inspection ensures that any deficiencies are identified before the project is finalized. If issues are found, corrections must be made, and a re-inspection will be required. This step is crucial because it serves as the final review before the project can be cleared for licensing.
Submit Final Inspection Request
On Site Inspection
Distribute Report
Corrections & Re-Inspection If Not Approved

## Slide 8: Step 6: Post-Inspection & Licensing Review
In this final stage, the results from the final inspection are forwarded to the licensing department. If no further corrections are required, the project will be approved for licensing. It's important to note that the plan review team has no oversight or influence over the licensing decision. Their role concludes once the final inspection report is submitted. This step marks the official end of the submittal process, where the stakeholder’s project receives the necessary approvals to operate. Ensuring that all prior steps have been properly followed is critical to obtaining this final clearance without delays.
Submit Approved Inspection Report to Licensing
Licensing Reviews for Adherence Licensing Requirements