| ABOVEGROUND STORAGE TANK 30-DAY VISUAL MONITORING FORM |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| OKLAHOMA CORPORATION COMMISSION PETROLEUM STORAGE TANK DIVISION P.O. Box 52000 Oklahoma City, OK 73152-2000 |  |  |  |  |  |  |
| - FACILITY INFORMATION |  |  |  |  |  |  |
| Facility ID: |  |  | Facility Name: |  |  |  |
| Submitter Name: |  |  | Date of Inspection: / / |  |  |  |
| Tank ID |  |  |  |  |  |  |
| - TANK CONDITION |  |  |  |  |  |  |
| Tank Visually Inspected | Yes No | Yes No |  | Yes No | Yes No | Yes No |
| Leaks or Spills | Yes No | Yes No |  | Yes No | Yes No | Yes No |
| Cracks/Bulges/Corrosion | Yes No | Yes No |  | Yes No | Yes No | Yes No |
| Tanks Properly Labeled/Tagged | Yes No | Yes No |  | Yes No | Yes No | Yes No |
| Interstitial Gauge Shows No Leaks | Yes No N/A | Yes No N/A |  | Yes No N/A | Yes No N/A | Yes No N/A |
| Interstitial Dry (no gauge) | Yes No N/A | Yes No N/A |  | Yes No N/A | Yes No N/A | Yes No N/A |
| Cathodic Protection | Yes No N/A | Yes No N/A |  | Yes No N/A | Yes No N/A | Yes No N/A |
| High Level Alarm Working | Yes No | Yes No |  | Yes No | Yes No | Yes No |
| Exterior Tank Surface Painted | Yes No | Yes No |  | Yes No | Yes No | Yes No |
| - FOUNDATIONS & STRUCTURAL |  |  |  |  |  |  |
| Settlement/Cracks/Corrosion | Yes No | Yes No |  | Yes No | Yes No | Yes No |
| Anchor Bolts Tight | Yes No | Yes No |  | Yes No | Yes No | Yes No |
| - SECONDARY CONTAINMENT |  |  |  |  |  |  |
| Cracks/Gaps/Puncture/Corrosion | Yes No | Yes No |  | Yes No | Yes No | Yes No |
| Paint/Sealant in Good Condition | Yes No | Yes No |  | Yes No | Yes No | Yes No |
| Storm Water Build Up | Yes No | Yes No |  | Yes No | Yes No | Yes No |
| Storm Water Discharge Dates | Yes No | Yes No |  | Yes No | Yes No | Yes No |
| Drainage Valve Locked Close | Yes No | Yes No |  | Yes No | Yes No | Yes No |
| - PIPES/VALVES/DISPENSERS/SUMPS |  |  |  |  |  |  |
| Leaks or Spills | Yes No | Yes No |  | Yes No | Yes No | Yes No |
| Cracks/Bulges/Corrosion | Yes No | Yes No |  | Yes No | Yes No | Yes No |
| Properly Labeled | Yes No | Yes No |  | Yes No | Yes No | Yes No |
| High Level Alarm Working | Yes No | Yes No |  | Yes No | Yes No | Yes No |
| - CERTIFICATION (Read and sign after completing all sections) |  |  |  |  |  |  |
| I certify under penalty of law that I have personally examined and am familiar with the information submitted on this form and that I believe that the submitted information is true, accurate and complete. |  |  |  |  |  |  |
| X |  |  |  |  |  |  |
| Signature |  |  | Date |  |  |  |
| 165:26-3-20.1. Monitoring requirements for aboveground tanks and aboveground piping One of the following methods must be used: (1) Visual Monitoring. (A)Visual inspection of the aboveground storage tank systems to identify cracks or other defects in the secondary containment area and product transfer area. (B) Visual inspection of the exterior surface of the tanks, piping, valves, pumps and other equipment for cracks, corrosion, releases and maintenance deficiencies; and identify poor maintenance, operating practices or malfunctioning equipment. (C) Visual inspection of elevated tanks or tanks on concrete slabs. (D)Visual inspection of the area between the tank's outer shell or the tank's floor and containment area or a vapor monitoring of the soil directly under the tank bottom or perimeter and the water table, unless the tank containment has a sound concrete floor. (E) Visual inspections are not adequate where due to the nature of the aboveground storage tank and/or its secondary containment it cannot be determined whether a leak has occurred. A good example would be a vertical tank that is not raised off the ground, making it impossible to visually inspect its bottom, and is not sitting on a sound concrete slab within sound secondary containment. (F) An annual line tightness test performed by a certified tester may be used in lieu of thirty (30) day visual monitoring for aboveground product piping. |  |  |  |  |  |  |
| Comments: _____________________________________________________________________________________________________________ _____________________________________________________________________________________________________________ _____________________________________________________________________________________________________________ _____________________________________________________________________________________________________________ _____________________________________________________________________________________________________________ ___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________ _____________________________________________________________________________________________________________ |  |  |  |  |  |  |